Carbon Neutral University?
Professor Martin Mayfield
Co-Director of the Urban Institute
Infrastructure Lead, Faculty of Engineering
University of Sheffield

---
A good decision is based on knowledge and not on numbers.	(Plato)
Engineering as a school of thought
Championing evidence based decisions
Challenging anecdotal learning

---
Carbon Neutral?
Inspiration?
Sheffield?
The way forward?

---
1950
2010
1
2
3
4
5
CO2
GDP/per person
Population
CO2/energy
Energy/GDP
The Kaya Identity and the role of Engineering

---
How are we doing?
Source IPCC 2013

---
Emissions by Scope
Source: Greenhouse Gas Protocol (WRI / WBCSD)
Use of electricity + fuel combusted is typically referred to as operational emissions
AUDE Conference 2011

---
Operational Zero Carbon Definitions
6
4
1
2
Power station
CO2
3
5
1. Self sustaining site: produces all energy needed produced on-site (expensive)
2. Annually carbon neutral: net imports equal to exports (logical)
3. Annually zero emissions: with use of near-site renewables (provides local jobs)
4. Annually zero emissions: with use of off-site renewables (efficiency of scale but incurs grid losses)
5. Additionality: dedicated added renewables (required to add to UK capacity)
6. Carbon offsetting: reducing others emission emissions (lacks credibility)

---
Re-calibrate our thinking to address the Energy Trilemma
Energy Costs, Energy Security & Climate Change
World Energy Council (2013)

---
Carbon Neutral?
Inspiration?
Sheffield?
The way forward?

---
The last decade was about having a position…
SASA
AUDE Conference 2011

---
This decade is about delivering…
Date
AUDE Conference 2011
Emission Target Below Baseline

---
Manchester Metropolitan University
Framework for designing and delivering genuine sustainable facilities for future generations
A study to explore academic, social and environmental needs over timescales of 30 to 120 years was undertaken, with particular focus on resilience and adaptation to climate change, natural resource scarcity, energy security and demographic trends

---
St Andrews
Announced intention in 2012 to be carbon neutral by 2016
(2012 figures)
Behaviour Change (45 tonnes C/yr)
Renewable Energy
Wind (19,000 tonnes C/yr)
Biomass (12,000 tonnes C/yr)
Energy Efficient Buildings (3,180 tonnes C/yr)

---
Carbon Neutral?
Inspiration?
Sheffield?
The way forward?

---
Carbon reduction strategy has three key components.
Buildings - current and new
Behaviour - in all its guises
Infrastructure - the carbon content of the energy delivered to a building

---
Whole University Carbon Projection
Behaviour
Self Generation
  - Building Initiatives
Buildings
Combined (against no grid de-carbonisation)

---
University of Sheffield
Energy Strategy and
Dashboard
- Model developed as part of the Energy Strategy study
- Allows the University to understand the implications of deploying a range of projects and initiatives
- Provides a range of outputs in the form of a dashboard to allow easy presentation and integration.
- Displays multiple scenarios to be analysed simultaneously

---
Carbon reduction strategy has three key components.
Buildings - current and new
Behaviour - in all its guises
Infrastructure - the carbon content of the energy delivered to a building

---
Carbon reduction strategy has three key components.
Buildings - current and new
Behaviour - in all its guises
Infrastructure - the carbon content of the energy delivered to a building

---
Natural Ventilation?

---
Carbon reduction strategy has three key components.
Buildings - current and new
Behaviour - in all its guises
Infrastructure - the carbon content of the energy delivered to a building

---
Infrastructure should lead your thinking?

---
Electricity vs. Gas
- Carbon savings associated with electricity savings will increase as grid decarbonises.
- Eventually saving gas will provide an equivalent carbon saving to saving electricity.
- Gas CHP will not be viable as a carbon reduction tool post-2027........?

---
Cost per turbine drops the more you build on one site
What about a HEFCE Wind Farm?

---
Carbon reduction strategy has three key components.
Buildings - current and new
Behaviour - in all its guises
Infrastructure - the carbon content of the energy delivered to a building

---
Fogg Behaviour Model

---
Carbon Neutral?
Inspiration?
Sheffield?
The way forward?

---
Evolution or revolution?
Integrated
Access to content…
  - PC, Tablet, Ultrabook
  - Anywhere/any time
Storage of content…
  - Data centre, on-site, off site?
Type of content…
  - eBooks, VLEs,
Cost Models…
  - Pay per term?
  - Pay per module?
  - Pay per course?
Evolving Environment
  - Self-organised learning
  - Multi-gesture devices
  - Game-based learning
  - Augmented Reality
Segregated
Virtual
Physical

---
Is it enough to understand your energy consumption at building level?

---
The ultimate goal - Personal Carbon Accounting?

---
Sustainability is a Systems Paradigm
The Limits to Growth team worked with best Systems Dynamics modelling team in the world at MIT to produce a model (World3) that explored global population and resource flows.
Donella Meadows was the author of the leading text on Systems Thinking.

---
Strategy
Roadmap our future
Focus on behaviour change and low/zero carbon heat generation
Be systemic in our approach
working at larger scales
e.g. solving road pollution = 1/2 commercial office emissions.
Always have a Plan B and a Plan C
Tactics
Put big wind turbines where it is windy
Consider a wind farm JV with other Universities (backed by USS?)
Logistics
Ask Bob Rabone for the Arup model?
Develop student projects around the model and its three sub systems
Engage with other universities (globally)

---
"The man of system… seems to imagine that he can arrange the different members of a great society with as much ease as the hand arranges the different pieces upon a chess-board.”
Adam Smith
The Theory of Moral Sentiments
Thank you
Professor Martin Mayfield, Infrastructure Lead, Faculty of Engineering, University of Sheffield